Security Checklist: General

|  | Not Checked | Daily | Weekly | Monthly | 6 Months | Annually | N/A |
| --- | --- | --- | --- | --- | --- | --- | --- |
| How often are doors checked to be certain they are secure? |  |  |  |  |  |  |  |
| How often are windows checked to be certain they are secure? |  |  |  |  |  |  |  |
| How often are other areas or storage buildings checked to be certain they are secure? |  |  |  |  |  |  |  |
| How often are fences and gates checked to be certain they are secure? |  |  |  |  |  |  |  |
| How often are lights checked to be certain they are working properly? |  |  |  |  |  |  |  |
| How often is the general condition of building checked? |  |  |  |  |  |  |  |

Door Survey

All exterior and interior doors should be checked for the following:

- Locking hardware is in proper working order.

- Framework is strong and door fits properly.

- Strike plate is strong and securely affixed to frame.

- No breakable glass within 40 inches of locking mechanism or panic bar.

- Door cannot be bypassed through drop ceiling or transom.

- Panic bar operates properly.

- Exposed hinge pins cannot be easily removed.

- The inactive (stationary) side of double doors can be secured at both top and bottom.

- Overhead doors can be secured with an auxiliary locking device.

- Portals and hatches are secured with a heavy duty hasp and padlock.

- Key numbers have been removed from all padlocks.

- Outside handles are removed from "egress only" (exit) doors.

- All areas are in compliance with ADA standards.

For the questions below and in subsequent sections, if a NO is checked, please explain in the space provided at right.

|  | Yes | No |  |
| --- | --- | --- | --- |
| Can all outside entrances be secured? |  |  |  |
| Can all inside doors be secured? |  |  |  |
| Can any overhead door be secured? |  |  |  |
| Can any portals or hatches be secured? |  |  |  |

Window Survey

All ground floor windows, as well as accessible areas above ground level, should be checked for the following:

- Locking hardware is in proper working order.

- Additional measures are provided for windows with air-conditioning units.

- Any basement windows are protected with a security grill or well cover.

|  | Yes | No |  |
| --- | --- | --- | --- |
| Are all ground floor or other accessible windows secure? |  |  |  |

Miscellaneous Openings and Outbuildings

All openings and exterior barriers should be checked for adequate security.  Particular attention should be given to roof hatches, cornices above protective overhangs, and sheds or outbuildings containing materials or equipment.

|  | Yes | No |  |
| --- | --- | --- | --- |
| Are all openings which are accessible from the outside able to be secured? |  |  |  |
| Are all outbuildings and storage sheds able to be secured? |  |  |  |

Key Control

Optimum security is contingent upon a proper key control system, such as:

- The responsibility for lock and key control is assigned to one individual.

- All file keys and duplicates are kept locked in a key cabinet.

- All keys are maintained and issued with strict supervision, including the requirement that each key issued must be signed for (using key receipt tags).

- Master keys are kept to a minimum and are retained by top administrative personnel only.

- Penalties are enforced when a key is lost.

- Employees are not permitted to make duplicate keys on their own.

- Keys are collected (and logged) from employees who are terminated or leave employment and from residents/tenants who move out.

- Lock cylinders are able to be replaced.

|  | Yes | No |  |
| --- | --- | --- | --- |
| Is the key control system adequate? |  |  |  |
| Is the key cabinet adequate? |  |  |  |

Lighting

|  | Yes | No | Required Foot Candles | Foot Candle Reading |
| --- | --- | --- | --- | --- |
| Is the perimeter of the building protected by adequate lighting? |  |  |  |  |
| Is there sufficient light to provide marginal coverage when a lighting fixture needs replacement? |  |  |  |  |
| Is additional lighting provided at entrances or other points of access? |  |  |  |  |
| Are corridors and stairwells properly lit for safety? |  |  |  |  |
| Are exterior lights aimed at or away from the building? |  |  |  |  |
| Are lighting repairs able to be made immediately? |  |  |  |  |
| Are photocells used? |  |  |  |  |
| Are accessible lenses protected by unbreakable material? |  |  |  |  |
| Is the wiring for lighting protected? |  |  |  |  |
| Are switches and controls properly located and protected? |  |  |  |  |
| Is the lighting system designed, and fixture locations recorded, so that repairs can be easily made? |  |  |  |  |
| Are materials and equipment in the storage area arranged properly to allow for lighting? |  |  |  |  |
| Are mechanical rooms/electrical panels and hazardous areas locked? |  |  |  |  |

Perimeter and Grounds Fencing

|  | Yes | No |  |
| --- | --- | --- | --- |
| Is there fencing? |  |  |  |
| Can the fence be bypassed/scaled? |  |  |  |

Visibility and Access

|  | Yes | No |  |
| --- | --- | --- | --- |
| Are all areas of the building and grounds accessible to patrol cars? |  |  |  |
| Are buildings visible to passing patrol cars? |  |  |  |

Vandalism and Theft Prevention

Grounds should be checked for the following:

- Grounds are kept mowed and shrubs and trees are kept trimmed.

- Property is kept free of graffiti.

- Broken glass in doors or windows is replaced promptly.

|  | Yes | No |  |
| --- | --- | --- | --- |
| Are facilities generally kept neat and in good repair? |  |  |  |
| Are sections of the building able to be locked when not in use? |  |  |  |
| Are there protective screens or guards installed on windows? |  |  |  |
| Are vital records maintained in a secure location? |  |  |  |
| Is there a record kept of areas that require maintenance? |  |  |  |

DISCLAIMER: These sample forms and agreements are not endorsed by the Institute of Real Estate Management. They are presented for informational purposes only and should not be relied upon for accuracy, completeness or consistency with applicable law. The user is advised to check all applicable state and federal law before using these forms, agreements, or parts thereof. Because certain forms have legal implications (e.g., management agreements, rental applications), it is recommended that downloaded versions of such forms should be reviewed with legal counsel prior to their use and that any modifications made by the user should also be reviewed by legal counsel.